## Slide 1: CTMEEC Local System Plan
PAC Meeting
October 23, 2025

## Slide 2: CTMEEC Local System Plan
Required by OATT Attachment K
  The Local System Plan (LSP) addresses non-PTF transmission and sub transmission facilities
  Attachment K requires stakeholder input on LSP
CTMEEC dba TRANSCO represents several Connecticut utilities
  Bozrah Light and Power ( BL&P)
  Groton Utilities (GU)
  Jewett City Department of Public Utilities (JCDPU)
  Mohegan Tribal Utility Authority (MTUA)
  Norwich Public Utilities (NPU)
  South Norwalk Electric & Water (SNEW)
  Third Taxing District (TTD)
Some LSP projects have RSP elements and vice versa as noted herein

## Slide 3: Project Status Definitions
  Concept—Project is under consideration as a possible solution to a need with analysis in progress
  Proposed-Project selected as solution to a need, all internal and/or external approvals pending
  Planned-I.3.9 Approval obtained and/or budget approved
  Permitting-Permitting if required is in progress
  Construction-Project is under construction
  In Service -Project is substantially complete and in operation

## Slide 4: Project List
Project Name | Host Utility | Project Description | Current Status | LSP Elements | 
Bean Hill Relocation | NPU | Relocate Bean Hill Substation to Yantic Lane | Planned | PTF | 
617 Line Upgrade | NPU | Rebuild 69KV line to 10th St Substation and convert to 115KV | Planned | None | 
10th St Relay Upgrade | NPU | Replace existing electro-mechanical relays with electronic relays | Planned | None | 
1000 Line Power Line Carrier Replacement | NPU | Replace existing power line carrier communication with fiber | Planned | PTF | 
Buddington SS 4X Transformer Refurbishment | GU | Refurbishment of our 4X Transformer located at Buddington SS. | Construction | 4X transformer refurbishment elongating life of 1 of 4 critical transformers supporting our largest Substation. | 
Trails Corner Relay Replacements (340L, 341L, 301L, 306L, 310L) | GU | Replacement of relays on 34.5kV feeders between SS’s on multiple lines. | Planned | Replacement of Relays on the 340L, 341L, 301L, 306L, 310L & coordination of protections and controls to improve and harden system response. | 
Trails Corner 300L & 305L Relay Replacements | GU | Replacement of relays on 34.5kV feeders between SS’s on multiple lines. | Construction | Replacement of Relays on 300L & 305L to improve and harden system response. | 
Red Cedar Lake Reconductoring | BL&P | Reconductoring of Primary single Phase conductor on Red Cedar Lake | Planned | Upgrade of Single Phase conductor to Three Phase conductor on Red Cedar Lake Rd to help with resiliency to vegetation. | 
Wyman Gordon Station Conversion | GU | Station Conversion from 8620kV to 13.8kV | Planned | Station Conversion to 13.8kV from 8620kV to help with system continuity and consistency. | 

## Slide 5: Contact Information
CTMEEC-- Hao Ni hni@cmeec.org
BL&P & GU--Kelsey O’dell odellk@grotonutilities.com
MTUA--Paul Woronik pworonik@moheganmail.com
NPU--Eric McDermott eric.mcdermott@npumail.com
TTD--Mike Adams madams@ttd.gov
SNEW--John Glenn jglenn@snew.org